Castor 5091 in ground spotlight

Castor is a powerful in-ground ground spot that lights up really large trees, such as broad-leaved trees.

LightsOn Garden Plug & Play. A flexible 12-volt lighting system for your garden. Easy to install and easy to extend (max 50m) to reach all parts of your garden. Designed in Sweden for the tough Nordic climate, all components are made of durable and weather proof materials, guaranteeing a long maintenance free life.

Don't forget the transformer. Choose a transformer that suits the total wattage of all your lamps. For optimal life we commend that you load your transformer with no more than 85% of the max capacity.

Keep it simple! Add a photo cell that automatically turn the lights on in the evening and off again at dawn.

Specifications:

• 12 volt AC 
• 15 watt LED (integrated light source) 
• 1200 lumen 
• IP67 
• Small beam angle (25°) 
• Warm white light (3000°K) 
• Black aluminium, acrylic glass 
• Ø 9 cm diameter 
• 10 cm depth 
• 70 cm rubber cable