This flexible LED strip offers five meters of continuous warm white light well suited for places that are difficult to light evenly, or when you want to emphasize lines in the garden or on the façade. You can also create exclusive effects when mounting Strip on wooden decks or on steps / stairs.

Strip is equipped with adhesive tape on the back side and has 15 pcs of mounting clips (incl screws) for easy fixation. Strip can easily be cut with a pair of scissors in interval of 5cm so that you can get exactly the length you need.

Note that if you cut Strip and intend to place it outdoors, you must fill the included end cap with silicone glue (not included) to make sure that the end is properly sealed. Otherwise, you risk malfunction due to moisture entering the electronic components.

LightsOn Garden Plug & Play
A flexible 12-volt lighting system for your garden. Easy to install and easy to extend (max 50m) to reach all parts of your garden. Designed in Sweden for the tough Nordic climate, all components are made of durable and weatherproof materials, guaranteeing a long maintenance-free life.

Don't forget the transformer - Choose a transformer that matches the total wattage of all your lamps. For optimal life we recommend that you load your transformer with no more than 85% of the max capacity.

Keep it simple - Add a photocell that automatically turns the lights on in the evening.

Specifications:

• 12 volt AC
• 25 watt LED (integrated light source)
• 1700 lumen
• IP65
• Warm white light (2700°K)
• Flexible silicone /PVC
• 5m LED strip + 3m cable
• Non extendable
• Can be cut (with 5cm interval)
• Adhesive tape on the strip for easy mounting
• 15 mounting clips included
• End cap (when cut Strip) included
• Non-dimmable