Lynx is an eye catching decklight that gives an exclusive impression on your wooden deck or along pathways. Lynx can also be used as visual markers on steps or to emphasize the end of a level in your garden.

The bronze coloured Lynx blends in well in all environments, and is maybe a bit extra spectacular if you happen to have details in rusty corten steel in your garden / outdoor environment.

LightsOn Garden Plug & Play
A flexible 12-volt lighting system for your garden. Easy to install and easy to extend (max 50m) to reach all parts of your garden. Designed in Sweden for the tough Nordic climate, all components are made of durable and weather proof materials, guaranteeing a long maintenance free life.

Don't forget the transformer - Choose a transformer that matches the total wattage of all your lamps. For optimal life we recommend that you load your transformer with no more than 85% of the max capacity.

Keep it simple - Add a photocell that automatically turns the lights on in the evening.

Do you prefer a light that is a bit softer? Lynx can be dimmed using the product Dimmer (art 5094).

Specifications:

• 12 volt AC
• 2 watt LED (integrated light source)
• 18 lumen
• IP67
• Warm white light (3000°K)
• Bronze coloured aluminium
• Ø 56mm, drill hole Ø 45mm
• 70 cm rubber cable
• Removable plastic sleeve included
• Dimmable with LightsOn dimmer