Nova is a ground spot for mainly small and medium sized trees and bushes. With your mobile phone you easily adjust the dimming level as well as colour temperature (from warm white to cold white).

LightsOn Garden Plug & Play. A flexible 12-volt lighting system for your garden. Easy to install and easy to extend (max 50m) to reach all parts of your garden. Designed in Sweden for the tough Nordic climate, all components are made of durable and weather proof materials, guaranteeing a long maintenance free life.

Don't forget the transformer. Choose a transformer that suits the total wattage of all your lamps. For optimal life we commend that you load your transformer with no more than 85% of the max capacity.

Keep it simple! Add a photocell that automatically turn the lights on in the evening and off again at dawn.

Specifications:

• 12 volt AC 
• 6 watt LED (integrated light source) 
• 480 lumen 
• IP65 
• Medium beam angle (40°) 
• Warm white to cold white light 2700°K-6500°K 
• Dimmable (by app) 
• Bluetooth 
• Black powder coated aluminium, glass 
• 70 cm rubber cable