Decide when you want the lighting to be turned on/off and set the dimming level if you feel the lights are too bright (note that not all lights are dimmable, see the list below). Set specific times or, for example, when the sun rises/sets, and control everything from your mobile through the SmartLife app.

MAX LOAD: TOTAL 50W LIGHTS

The dimming function works on the following lights:

• Apollo
• Astro
• Bliss
• Bloom
• Cosy
• Deco bulb
• Deco bulb XL
• Dexter
• Ellips
• Glimmer
• Helix
• Ice
• Lynx
• Nero
• Orbit
• Orion
• Pine
• Polly
• Quadra
• Saturnus
• Spectrum
• Strip
• Wally
• Zenit
• Zenit duo

Don't forget the transformer. Choose a transformer that suits the total wattage of all your lamps. For optimal life we recommend that you load your transformer with no more than 85% of the max capacity.

Keep it simple! Add a photo cell that automatically turn the lights on in the evening and off again at dawn.

Garden Plug & Play by LightsOn 
A flexible 12-volt lighting system for your garden. Easy to install and easy to extend (max 50m) to reach all parts of your garden. Designed in Sweden for the tough Nordic climate, all components are made of durable and weather proof materials, guaranteeing a long maintenance free life.

Specifications
• 12 volt AC
• IP65 
• Total length incl rubber cable 24cm
• Max load 50 watt
• App controlled via SmartLife (wifi)
   - dimming
   - on/off
   - sun up/down
   - time programming
   - grouping of several Smart Controls