Are you thinking of adding several Zenit Duo in a row on a fence or your wooden deck? Then this all in one package is for you.

LightsOn Garden Plug & Play. A flexible 12-volt lighting system for your garden. Easy to install and easy to extend (max 50m) to reach all parts of your garden. Designed in Sweden for the tough Nordic climate, all components are made of durable and weather proof materials, guaranteeing a long maintenance free life.

Keep it simple! Add a photocell that automatically turn the lights on in the evening and off again at dawn.

Do you prefer a bit softer light? Zenit works well together with the product Dimmer (art.5094)

Specifications:

Specification Zenit Duo: 
• 12 volt AC 
• 1 watt LED (integrated light source) 
• 40 lumen 
• IP67 
• Medium beam angle (30° x 2) 
• Warm white light (3000°K) 
• Dimmable with LightsOn dimmer

Specifications 21 watt transformer:

• 230 volt AC -> 12 volt AC 
• 21 watt (21 VA), maximum load 18 watt 
• IP44

Specifications 10 m splitter cable: 
• 10 meters long with 10 splitters (2 x 0,75 mm2) 
• Rubber cable 
• Quick connectors 22 millimeter diameter in each end